Copyright 2016 AIA
MasterSpec Model Text
06/16 (PM updated 07/22)
PRODUCT MASTERSPEC LICENSED BY DELTEK, INC. TO THE EUCLID CHEMICAL COMPANY

Copyright 2016 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

This Product MasterSpec Section is licensed by Deltek, Inc. to The Euclid Chemical Company ("Licensee").

This independent Product MasterSpec Section uses original MasterSpec text.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact The Euclid Chemical Company, 19215 Redwood Rd., Cleveland, OH 44110; Phone: (800) 321-7628 or (216) 531-9222; Website: www.euclidchemical.com; Email: info@euclidchemical.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit masterspec.com.

SECTION 036100 – CEMENTITIOUS GROUTING
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single‑File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Access Product MasterSpec Sections:

<Double click here to view the list of manufacturer Sections available at ProductMasterSpec.com>
Access Sustainability Content in UL SPOT:

<Double click here to view products with UL Environment certifications>
Access HPD Content on HPD Public Depository:

<Double click here to view product health product declarations (HPDs) on HPD Public Repository>
Revise this Section by deleting and inserting text to meet Project-specific requirements.

MasterSpec includes provisions for LEED v4, LEED v4.1, IgCC/ASHRAE 189.1, and Green Globes.
PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:
1. Cementitious grouting.
B. Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.
1. Section 036300 "Epoxy Grouting," for epoxy grouting.

2. Section 042000 "Unit Masonry" requirements for grouting unit masonry.

3. Section 042200 "Concrete Unit Masonry" requirements for grouting concrete unit masonry.

1.2 ALLOWANCES

Retain paragraph below if testing is paid for by Contractor under an allowance.

A. Field quality-control testing of grout is part of testing and inspecting allowance. Refer to Section 012100 "Allowances."
1.3 UNIT PRICES

Retain this article if Work specified in this Section is measured and paid for under the provisions of unit prices. Do not include amounts. Insert descriptions of items in Part 2 or 3 to provide information affecting the cost of the Work that is not included under the unit price.

A. Work of this Section is affected by grouting unit price. Refer to Section 012200 "Unit Prices."
1.4 PREINSTALLATION MEETINGS

Retain "Preinstallation Conference" Paragraph below if Work of this Section is extensive or complex enough to justify a conference.

A. Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

1.5 ACTION SUBMITTALS

Action submittals are submittals requiring responsive action and return of reviewed documents to Contractor.
A. Product Data: For each type of product.

1. Include material descriptions for each grout type.

Retain "Sustainable Design Submittals" Paragraph below if required to attain sustainability rating or to track sustainability submittals.
B. Sustainable Design Submittals:

Preconsumer (postindustrial) recycled content of Euclid's cementitious grouts varies from 2 percent for "EUCO ROCK" and "NS GROUT" to 36 percent for "HI-FLOW METALLIC GROUT" and EUCO CABLE GROUT PTX."
For Euclid's current LEED certification data, see www.euclidchemical.com/products/construction-products/grouts/cementitious.

1. Product Data: For recycled content, indicating postconsumer and preconsumer recycled content and cost.

1.6 INFORMATIONAL SUBMITTALS

Informational submittals are submittals that require review by Architect, but they do not require Architect's responsive action and return of reviewed documents to Contractor, provided submittals comply with requirements. If rejected, submittals with responsive action must be returned to Contractor.

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article.

A. Qualification Data: For [Manufacturer][, installer] and [testing agency].

Retain subparagraph below for supervision of bonded cable grout installation in accordance with PTI specifications.

1. Include resume of individual supervising installation of post-tensioning bonding grout.

B. Manufacturer's Material Certificates: For each type of grout indicating products are compatible and suitable for the specified application.
Retain "Field quality-control reports" Paragraph below if Contractor is responsible for field quality-control testing and inspecting.

C. Field quality-control reports.

1.7 QUALITY ASSURANCE

Retain option in "Manufacturer Qualifications" Paragraph below if specifying bonded cable grout in accordance with PTI specifications.

A. Manufacturer Qualifications: Holder of current ISO 9001 certificates as primary manufacturer of specified products[ and complying with audit provisions of PTI specification].
Retain and edit "Installer Qualifications" Paragraph below for application of bonded cable grout in accordance with PTI specifications.

B. Installer Qualifications: A qualified Installer employing [PTI Level 2 Bonded PT Field Specialist] [ASBI Certified Grouting Technician].

Retain "Testing Agency Qualifications" Paragraph below if Contractor (or manufacturer) selects testing agency or if Contractor is required to provide services of a qualified testing agency in "Field Quality Control" Article. 

C. Testing Agency Qualifications: Qualified in accordance with ASTM C1093 for testing indicated.

Retain subparagraph below for inspection of bonded cable grout in accordance with PTI specifications.

1. Personnel performing field inspections to have successfully completed PTI's Level 1 - Field Fundamentals course or have equivalent verifiable experience and knowledge acceptable to Architect.

1.8 DELIVERY, STORAGE, AND HANDLING

A. Comply with manufacturer's written instructions for minimum and maximum temperature requirements and other conditions for storage.

B. Store cementitious materials off the ground, under cover, and in a dry location.

C. Condition materials prior to installation in accordance with manufacturer's written instructions.
1.9 FIELD CONDITIONS

A. Stain Prevention: Protect face of substrates to be left exposed or painted to prevent grout from staining exposed work. Immediately remove grout from finished work in accordance with manufacturer's written instructions.

B. Cold-Weather and Hot-Weather Requirements for Cementitious Grouting: Do not apply grout unless concrete-surface and air temperatures are within temperature range indicated in manufacturer's written instructions.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed.

A. Basis-of-Design Product: Subject to compliance with requirements, provide listed grout products of
Euclid Chemical Company (The); Grout products
or approved comparable product by one of the following:

1. Five Star Products, Inc.

2. Master Builders Solutions.

3. <Insert manufacturer's name>.
B. Source Limitations: Obtain grout products of a single manufacturer through a single source.

2.2 GROUT MATERIALS

Retain "Recycled Content" Paragraph below to specify recycled content if required. An alternative method of requiring recycled content is to delete it here but retain the requirement in Project's Division 01 sustainable design requirements Section that gives Contractor the option and responsibility to determine how recycled content requirements will be met.

Retain "Recycled Content" Paragraph and insert appropriate quantity when using "HI-FLOW METALLIC GROUT" or "EUCO CABLE GROUT PTX" for preconsumer (post-industrial) content.
For Euclid's LEED certification data, see www.euclidchemical.com/products/construction-products/grouts/cementitious.
A. Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [30] <Insert number> percent.
B. Water: ASTM C94/C94M and potable.
2.3 CEMENTITIOUS GROUT
A. Cementitious Grout: Conforming to ASTM C1107/C1107M and ACOE CRD-C 621; chloride-free with additives that do not contribute to corrosion of base structure or other embedded materials.

B. Non-Shrink Multi-Use Grout: Non-shrink, non-metallic, non-staining, high-strength, cementitious grout capable of being mixed and placed at plastic, flowable and fluid consistencies.

Retain "Basis-of-Design Product" Subparagraph below to require a specific product or a comparable product.

Euclid's "NC GROUT" and "NS GROUT" are designed for critical use where high-strength, non-staining characteristics and positive expansion are required. They contain only natural aggregate and an expansive cementitious binder. Their multi-flow characteristics make it ideal for a multitude of applications including pumps, fans, machine bases of all types, anchor bolts and column baseplates.
1. Basis of Design Product: Subject to compliance with requirements, provide
Euclid Chemical Company (The); [NC GROUT] [NS GROUT]
or approved comparable product by an acceptable manufacturer.

2. Flow Rate: In accordance with ASTM C939/C939M/ACOE CRD-C 621 at 75 deg F (24 deg C) and 50 percent RH.
a. 120 percent (Flow Table) at 1.0 gal./50 lb (3.8 L/22.7 kg) flowable consistency.

b. 23 to 30 seconds (Flow Cone) at 1.2 gal./50 lb (4.5 l/22.7 kg) fluid consistency.
3. 28-Day Compressive Strength: ASTM C109/C109M modified in accordance with ASTM C1107/1107M Section 11.5; testing 2-inch (51-mm) cubes at 75 deg F (24 deg C) and 50 percent RH.
a. 8000 psi (55 MPa) at 0.9 gal./50 lb (3.4 l/22.7 kg) plastic consistency.
b. 7000 psi (48 MPa) at 1.0 gal./50 lb (3.8 l/22.7 kg) flowable consistency.
c. 6000 psi (41.7 MPa) at 1.2 gal/50 lb. (4.5 l/22.7 kg) fluid consistency.
4. 28-Day Expansion: In accordance with ACOE CRD-C 621 at 75 deg F (24 deg C) and 50 percent RH.

a. 0.03 percent at 0.9 gal./50 lb (3.4 l/22.7 kg) plastic consistency.
b. 0.03 percent at 1.0 gal./50 lb (3.8 l/22.7 kg) flowable consistency.
c. 0.03 percent at 1.2 gal./50 lb (4.5 l/22.7 kg) fluid consistency.
5. Setting Time: In accordance with ASTM C940 at 70 deg F (21 deg C).

a. Initial Set: 3 to 5 hours.

b. Final Set: 4 to 6 hours.

C. Non-Shrink High Strength Grout: Non-shrink, non-metallic, non-staining, rapid strength gain, high-strength, cementitious grout capable of being mixed and placed at plastic, flowable and fluid consistencies.

Retain "Basis-of-Design Product" Subparagraph below to require a specific product or a comparable product.

Euclid's "TAMMSGROUT SUPREME" is specially designed for use where very high compressive strength and high fluidity are required. It's formulated as a natural aggregate system with a shrinkage-compensating binder and increased compressive strength. It provides consistent and exacting performance in critical grouting operations.

1. Basis of Design Product: Subject to compliance with requirements, provide
Euclid Chemical Company (The); TAMMSGROUT SUPREME
or comparable product by an acceptable manufacturer.

2. Flow Rate: In accordance with ASTM C939/C939M/ACOE CRD-C 621 at 75 deg F (24 deg C) and 50 percent RH.
a. 100 percent (Flow Table) at 0.8 gal./55 lb (3.0 L/24.9 kg) plastic consistency.
b. 130 percent (Flow Table) at 0.9 gal./55 lb (3.4 L/24.9 kg) flowable consistency.
c. 23 to 30 seconds (Flow Cone) at 1.1 gal./55 lb (4.2 L/24.9 kg) fluid consistency.
3. 28-Day Compressive Strength: ASTM C109/C109M modified in accordance with ASTM C1107/1107M Section 11.5; testing 2-inch (51-mm) cubes at 75 deg F (24 deg C) and 50 percent RH.

a. 13,000 psi (90 MPa) at 0.8 gal./55 lb (3.0 L/24.9 kg) plastic consistency.
b. 12,000 psi (83 MPa) at 0.9 gal./55 lb (3.4 L/24.9 kg) flowable consistency.

c. 11,000 psi (76 MPa) at 1.1 gal./55 lb (4.2 L/24.9 kg) fluid consistency.
4. 28-Day Expansion: In accordance with ASTM C1090 at 75 deg F (24 deg C) and 50 percent RH.
a. 0.09 percent at 0.8 gal./55 lb (3.0 L/24.9 kg) plastic consistency.
b. 0.04 percent at 0.9 gal./55 lb (3.4 L/24.9 kg) flowable consistency.
c. 0.05 percent at 1.1 gal./55 lb (4.2 L/24.9 kg) fluid consistency.
5. Setting Time: In accordance with ASTM C191 at 70 deg F (21 deg C).
a. Initial Set: 3 to 7 hours.

b. Final Set: 5 to 7 hours

D. High Flow Grout: Non-metallic, non-shrink grout for critical use where high strength, high fluidity, high tolerance, and positive expansion are required.
Retain "Basis-of-Design Product" Subparagraph below to require a specific product or a comparable product.

Euclid's "HI-FLOW GROUT" is specially designed for use where high tolerance, high strength, and high fluidity are required. It's formulated as a natural aggregate system with a shrinkage-compensating binder and is highly flowable without sacrificing strength or performance capabilities. It's formulated to provide consistent and exacting performance in critical grouting operations.
Features/Benefits: Highly fluid for ease in placement; high strength for maximum load bearing; and nonbleeding and non-segregating at a fluid consistency; does not contain chlorides or additives that can contribute to corrosion of base structures; total shrinkage compensation provides maximum bearing surface for greatest overall support; rapid strength gain to minimize turnaround time for equipment regrouts; excellent working time at high ambient temperatures.

Applications: Heavy-duty machinery and equipment; structural columns; crane rails; bridge seats; bearing plates; and anchorages.

1. Basis of Design Product: Subject to compliance with requirements, provide
Euclid Chemical Company (The); HI-FLOW GROUT
or comparable product by an acceptable manufacturer.

2. Flow Rate: In accordance with ASTM C939/C939M/ACOE CRD-C 621 at 75 deg F (24 deg C), 50 percent RH, and 1.2 gal./50 lb (4.5 L/22.7 kg) fluid consistency.
a. Initial: 21 seconds.

b. 30 minutes: 29 seconds.

c. 60 minutes: 31seconds.

3. 28-Day Compressive Strength: 8500 psi (59 MPa) in accordance with ASTM C109/C109M modified in accordance with ASTM C1107/1107M Section 11.5; testing 2-inch (51-mm) cubes at 75 deg F (24 deg C), 50 percent RH, and 1.2 gal./50 lb (4.5 L/22.7 kg) fluid consistency.

4. 28-Day Expansion: In accordance with ASTM C1090 at 75 deg F (24 deg C) and 50 percent RH.

a. 0.02 percent at 0.9 gal./55 lb (3.4 L/24.9 kg) flowable consistency.

b. 0.03 percent at 1.1 gal./55 lb (4.2 L/24.9 kg) fluid consistency.

5. Setting Time: In accordance with ASTM C191 at 75 deg F (24 deg C) and 50 percent RH.

a. Initial Set: 3 hours 50 minutes.

b. Final Set: 4 hours 50 minutes.

E. High Flow Metallic Grout: High tolerance, high strength, high fluidity, non-shrink grout formulated with metallic aggregates to increase durability and strength under heavy duty service conditions.

Retain "Basis-of-Design Product" Subparagraph below to require a specific product or a comparable product.

Euclid's "Hi-Flow Metallic Grout" is specially designed for use where high tolerance, high strength, and high fluidity are required. It is formulated as a metallic aggregate system with a shrinkage-compensating binder. It is highly flowable without sacrificing strength or performance capabilities and is formulated to provide consistent and exacting performance.
Features/Benefits: Reinforced with metallic aggregate for extra-heavy-duty service conditions; Highly fluid for easy field use; high strength for maximum load bearing; nonbleeding and non-segregating at a fluid consistency; non-shrink with minimum positive expansion for high-tolerance performance; does not contain any chlorides or additives, which contribute to corrosion of base structure; total shrinkage compensation provides a maximum bearing surface for the greatest overall support; and rapid strength gain to minimize turnaround time for equipment regrouts.

Applications: Heavy-duty machinery and equipment; structural columns; crane rails; bridge seats; bearing plates; and anchorages.

1. Basis of Design Product: Subject to compliance with requirements, provide
Euclid Chemical Company (The); HI-FLOW METALLIC GROUT
or comparable product by an acceptable manufacturer.

2. Flow Rate: In accordance with ASTM C939/C939M/ACOE CRD-C 621 at 75 deg F (24 deg C), 50 percent RH, and 1.1 gal./50 lb (4.2 L/22.7 kg) fluid consistency.

a. Initial: 22 seconds.

b. 30 minutes: 45 seconds.

c. 60 minutes: 51seconds

3. 28-Day Compressive Strength: 9000 psi (61 MPa) in accordance with ASTM C109/C109M modified in accordance with ASTM C1107/1107M Section 11.5; testing 2-inch (51-mm) cubes at 75 deg F (24 deg C), 50 percent RH, and 1.1 gal./50 lb (4.2 L/22.7 kg) fluid consistency.
4. 28-Day Expansion: In accordance with ASTM C1090 at 75 deg F (24 deg C) and 50 percent RH.

a. 0.03 percent at 1.1 gal./55 lb (4.2 L/24.9 kg) fluid consistency.

5. Setting Time at 75 Deg F (24 Deg C), 50 Percent RH and 1.1 Gal./50 Lb (4.2 L/22.7 kg) Fluid Consistency:
a. Initial Set: 3 hours 50 minutes.

b. Final Set: 4 hours 50 minutes.

6. 28-Day Flexural Strength: 1300 psi (9 MPa) in accordance with ASTM C348 at 75 deg F (24 deg C), 50 percent RH, and 1.1 gal./50 lb (4.2 L/22.7 kg) fluid consistency.
7. 28-Day Split Tensile Strength: 550 psi (3.7 MPa) in accordance with ASTM C496/C496M at 75 deg F (24 deg C), 50 percent RH, and 1.1 gal./50 lb (4.2 L/22.7 kg) fluid consistency.
F. Dry Packable Grout: High-strength, non-shrink, highly cohesive grout containing natural aggregate, mixed with minimum water for placement at damp pack consistency where flowable, fluid, or plastic grouts are not possible or desired.
Euclid's "DRY PACK GROUT" is designed for use where high-strength, non-shrink characteristics are required. It contains only natural aggregate and is designed to be mixed with minimum water for placement at a damp pack consistency where flowable, fluid, or plastic grouts are not possible or desired.
Features/Benefits: Extremely cohesive at damp pack consistency; nonstaining and similar to concrete in appearance; contains no chloride-based or corrosive ingredients; high compressive strengths for maximum bearing capability; nonshrink for long-term support.

Applications: Structural baseplates; equipment and machinery; precast elements.

1. Basis of Design Product: Subject to compliance with requirements, provide
Euclid Chemical Company (The); DRY PACK GROUT
or comparable product by an acceptable manufacturer.

2. 28-Day Compressive Strength: 8000 psi (55.2 MPa) in accordance with ASTM C109/C109M modified to Section 11.5; testing 2-inch (51-mm) cubes at 75 deg F (24 deg C) and 50 percent RH.
a. Dry Pack Consistency: Between 0.55 and 0.70 gal./50 lb (2.08 and 2.65 L/22.7 kg).
G. Cable Grout: Fluid, pumpable, non-shrink, non-metallic, cementitious cable grout exhibiting thixotropic properties for corrosion protection of steel cables, anchorages, and rods. Pumpable for a minimum of 2 hours at 90 deg F (32 deg C).

Euclid's "EUCO CABLE GROUT PTX" is formulated to produce a pumpable, non-shrink, high-strength grout. It provides corrosion protection for steel cables, anchorages and rods. It's extremely fluid with the cured grout similar in appearance to concrete. It exhibits thixotropic properties defined in PTI specifications, and can be used to repair previously grouted cables.
1. Basis of Design Product: Subject to compliance with requirements, provide
Euclid Chemical Company (The); EUCO CABLE GROUT PTX

or comparable product by an acceptable manufacturer.

2. Flow Rate: In accordance with ASTM C939/C939M, modified to 1.5 gal/50 lb. (5.7 L/22.7 kg) fluid consistency.
a. Initial: 9 to 20 seconds.
b. 30 minutes: 9 to 30 seconds, remixed for 30 seconds prior to retest.
3. 28-Day Compressive Strength: 7000 psi (48.3 MPa) in accordance with ASTM C942 at 1.5 gal./50 lb (5.7 L/22.7 kg) fluid consistency.

4. 3-Day Plastic Expansion: 0.0 percent to 2.0 percent for up to three hours in accordance with ASTM C940 at 1.5 gal./50 lb (5.7 L/22.7 kg) fluid consistency.
5. 28-Day Expansion: In accordance with ASTM C1090 at 75 deg F (24 deg C) and 50 percent RH.

a. 0.2 percent at 1.5 gal./50 lb (5.7 L/22.7 kg) fluid consistency.

6. Setting Time: In accordance with ASTM C953 at 70 deg F (21 deg C).
a. Initial Set: 8 to 12 hours.

7. Wick Induced Bleed: In accordance with ASTM C940 modified in accordance with PTI Guide Specification C.4.4.6.1.
a. 5 minutes: 0.0 percent.
b. 3 hours: 0.0 percent.
8. Schupack Pressure Bleed Test in Accordance with ASTM C1741 at:
a. 1.5 gal./50 lb (5.7 L/22.7 kg) mix water, 0.0 percent (5 minutes at 100 psi (0.7 MPa)).
b. 1.7 gal./50 lb (6.4 L/22.7 kg) mix water, 0.0 percent (5 minutes at 50 psi (0.3 MPa)).
9. Chloride Permeability at 30 V for 6 hours over 28 days in accordance with ASTM C1202: Less than 2500 coulombs.
H. Pre-Cast Grout: High strength, non-staining, non-metallic, non-shrink, cementitious grout designed for applications involving precast construction.
Retain "Basis-of-Design Product" Subparagraph below to require a specific product or a comparable product.

Euclid's "EUCO PRE-CAST GROUT" is designed for critical use where high strength, nonstaining characteristics and positive expansion are required. It contains only natural aggregate and an expansive cementitious binder.
Features/Benefits: Nonstaining natural aggregate for better appearance; nonshrink provides full structural support; extended working time in warm weather; high strength and durability; appearance similar to concrete; and without added chloride ions.

Applications: Precast panels; and Structural supports.
1. Basis of Design Product: Subject to compliance with requirements, provide
Euclid Chemical Company (The); EUCO PRE-CAST GROUT
or comparable product by an acceptable manufacturer.

2. Flow Rate: 100 percent (Flow Table) in accordance with ASTM C939/C939M/ACOE CRD-C 621 at 75 deg F (24 deg C), 50 percent RH, and 0.75 gal./50 lb (2.8 L/22.7 kg) plastic consistency
3. 28-Day Compressive Strength: 8000 psi (55.2 MPa) in accordance with ASTM C109/C109M modified to Section 11.5; testing 2-inch (51-mm) cubes at 75 deg F (24 deg C), 50 percent RH, and 0.75 gal./50 lb (2.8 L/22.7 kg) plastic consistency.
4. 3-Day Plastic Expansion: 0.0 percent to 2.0 percent for up to three hours in accordance with ASTM C940 at 1.5 gal./50 lb (5.7 L/22.7 kg) fluid consistency.

5. 28-Day Expansion: 0.07 percent in accordance with ACOE CRD-C 621 at 75 deg F (24 deg C), 50 percent RH, and 0.75 gal./50 lb (2.8 L/22.7 kg) plastic consistency.
a. 0.07 percent at 0.75 gal./50 lb (2.8 L/22.7 kg) fluid consistency.

6. Setting Time: In accordance with at ASTM C941 at 70 deg F (21 deg C).
a. Initial Set: 40 minutes.

b. Final Set: Approximately 1 hour.

I. Anchoring Grout: Cementitious, pourable, non-metallic, fast-setting, hydraulic cementitious grout for anchoring bolts, handrail posts, and reinforcing rods into concrete slabs interior or exterior.
Retain "Basis-of-Design Product" Subparagraph below to require a specific product or a comparable product.

Euclid's "EUCO ROCK GROUT" is a pourable, fast-setting hydraulic cement designed for anchoring or grouting applications. It sets in less than 10 minutes and rapidly achieves load-bearing and bond strength properties. It does not contain metallic aggregate or chloride ions.
Features/Benefits: Fast and controlled set; positive expansion; excellent freeze/thaw durability; and high early strengths.

Applications: Interior and exterior applications; anchoring bolts in concrete slabs; handrails and posts; reinforcing rods; and may be extended with pea-gravel for larger areas.
1. Basis of Design Product: Subject to compliance with requirements, provide
Euclid Chemical Company (The); EUCO ROCK GROUT
or comparable product by an acceptable manufacturer.

2. 28-Day Compressive Strength: 6000 psi (41.7 MPa) in accordance with ASTM C109/C109M; testing 2-inch (51-mm) cubes at 75 deg F (24 deg C), 50 percent RH, and 1.2 gal./50 lb (4.5 L/22.7 kg) fluid consistency.
J. Underwater Grout: Cementitious, highly flowable, non-shrink grout containing anti-washout additives to ensure cohesiveness during underwater placement.

Retain "Basis-of-Design Product" Subparagraph below to require a specific product or a comparable product.

Euclid's "EUCO TREMIE GROUT" is specially designed for use in underwater grouting applications. This highly flowable, cement-based, nonshrink grout remains in a cohesive, well-blended mix when placed or pumped in offshore concrete repairs.
Features/Benefits: Nonshrink for positive, secure support; highly flowable for easy mixing and pumping; Rapid strength gain for early support; and does not contain chlorides as additives, which might contribute to rebar corrosion.

Applications: Underwater grouting; pier supports; underwater concrete structures; offshore rigging; and pier supports.
1. Basis of Design Product: Subject to compliance with requirements, provide
Euclid Chemical Company (The); EUCO TREMIE GROUT
or comparable product by an acceptable manufacturer.

2. 28-Day Compressive Strength: In accordance with ASTM C109/C109M modified to Section 11.5 and testing 2-inch (51-mm) cubes.
a. 9000 psi (62 MPa) at 72 deg F (22 deg C).

b. 8300 psi (57.2 MPa) at 50 deg F (10 deg C).

3. 28-Day Expansion: In accordance with ASTM C1090 at 75 deg F (24 deg C) and 50 percent RH.

a. 0.08 percent at 1.0 gal./50 lb (3.78 L/22.7 kg) fluid consistency.

4. Setting Time:

a. At 72 deg F (22 deg C):

1) Initial Set: 5 hours.
2) Final Set: 7 hours.
b. At 50 deg F (10 deg C):

1) Initial Set: 12 hours.

2) Final Set: 18 hours.

2.4 CURING MATERIALS

A. Absorptive Cover: AASHTO M 182, Class 2, burlap cloth made from jute or kenaf, weighing approximately 9 oz./sq. yd. (305 g/sq. m) when dry.

B. Clear, Waterborne, Membrane-Forming Curing Compound: ASTM C309, Type 1, Class B, 18 to 25 percent solids, non-dissipating, and approved by grout manufacturer.

C. Water: Potable.

PART 3 -  EXECUTION

Contractor and Architect/Engineer should consult the Euclid Chemical bulletin "Cementitious Grout Application Guide" at the following location: http://euclidchemical.com/fileshare/ProductFiles/MiscProductFiles/grout_instructions.pdf.
The "Cementitious Grout Application Guide" offers instructions detailing the general installation of Euclid Chemical manufactured, cement-based grout products. If the Contractor is not familiar with standard grout placement techniques, a preconstruction conference is recommended for review of Project details. Contact Euclid's local representative for additional information.
3.1 EXAMINATION

A. Examine conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

1. For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of the Work.

2. Verify that substrates are free of substances that impair grout bond.

B. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. Concrete Substrates for Grouting: Provide sound concrete surfaces free of laitance, glaze, efflorescence, curing compounds, form-release agents, dust, dirt, grease, oil, and other contaminants incompatible with grout.

1. Mechanically abrade surfaces in accordance with manufacturer's written instructions.

2. Concrete Substrate Saturation: Saturate area to be grouted with water for minimum 24 hours until it's a uniformly damp saturated surface-dry substrate. Remove excess water just before placing grout.
B. Preparing Steel Substrates for Grouting: Prepare uncoated ferrous-metal surfaces to comply with SSPC-SP 10/NACE No. 2, "Near-White Metal Blast Cleaning."

C. Anchor Bolt Holes and Blockouts:

1. Clean holes and blockouts of dust, dirt, and debris and allow to dry.
2. If sides of holes and blockouts are smooth, roughen with a stiff bristle wire brush or with a rotary brush hammer.

D. Form Preparation:

1. Assemble forms liquid tight and braced.

2. Set forms a minimum 1 inch (25 mm) higher than bottom of baseplate.

3.3 INSTALLATION OF CEMENTITIOUS GROUT
A. General: Comply with requirements in Drawings, approved Shop Drawings, and manufacturer's written instructions.

1. Comply with ASTM C1107/C1107M for nonshrink cementitious grout.
B. Mixing: Mix grout in accordance with manufacturer's written instructions.
1. Grouting materials temperature to be between 50 and 80 deg F (10 and 27 deg C) immediately prior to mixing.

2. Charge mixing vessel with appropriate amount of clean, potable water for batch size and then add dry grout. Do not exceed water content recommended by manufacturer. Control water content. Do not add admixtures, sand, or cement to grout.
3. Continue mixing for time period recommended by manufacturer for grout product.
Retain "Flow Testing" Subparagraph below for Euclid's "EUCO CABLE GROUT PTX," "PRE-CAST GROUT," "HI-FLOW GROUT," "HI-FLOW METALLIC GROUT," "NC GROUT," "NS GROUT," and "TAMMSGROUT SUPREME" grouts.
4. Flow Testing: Test flow rate of mixed grout prior to placement.
C. Placement: Place grout in accordance with manufacturer's written instructions. 

Retain first subparagraph below as applicable to Project.

1. Maintain critical alignment of baseplates.
Retain first subparagraph below for Euclid's "Dry Pack Grout," "EUCO PRE-CAST GROUT," "HI-FLOW GROUT," "HI-FLOW METALLIC GROUT," "NC GROUT," "NS GROUT," and "TAMMSGROUT SUPREME."
2. Place mixed grout immediately and continuously. Place grout from one side only, using the headbox, to ensure complete filling of the space being grouted. Use a rod or strapping to assist in placement on large or difficult grouting configurations. Place grout only to the bottom edge of the baseplate.

Retain first subparagraph below for Euclid's "HI-FLOW GROUT," "HI-FLOW METALLIC GROUT," "NC GROUT," "NS GROUT," and "TAMMSGROUT SUPREME" grouts.

3. For pouring grout, allow a minimum clearance of 2 inches (50 mm) for entry and 6 inches (150 mm) minimum grout head. On placing side, slope form to assist in grout movement and to prevent trapping air. Allow 1 inch (25 mm) horizontal clearance and 1 inch (25 mm) vertical clearance for height above bottom of the baseplate. Configure forms to allow venting of displaced air.
Retain subparagraph below where applicable for Euclid's "EUCO CABLE GROUT PTX."
4. Place mixed grout immediately and continuously in compliance with PTI M55.1.

Retain "Finishing" Paragraph below where applicable.

D. Finishing:

1. Finish grout in accordance with manufacturer's written instructions.
a. Remove forms as soon as grout has stiffened or set sufficiently to prevent sagging[ away from the bottom of the baseplate].
b. Cut back shoulders to a 45-degree angle and finish to desired texture where required. Remove excess grout.
E. Curing: Cure grout in accordance with manufacturer's written instructions.

Retain curing method recommended by manufacturer for application.

1. Seal grout surfaces with two applications of curing compound.

Retain first subparagraph below for dry pack grout.

2. Wet cure grout for 72 hours using moisture retaining covers.
Retain subparagraph below for Euclid's "HI-FLOW GROUT," "HI-FLOW METALLIC GROUT," "NC GROUT," "NS GROUT," and "TAMMSGROUT SUPREME" grouts.

3. Pond grout installation with water or cover with moisture-retaining cover as soon as sheen of water disappears and grout attains initial set.

F. Crack Repair:

Hairline cracks in exposed grout (shoulders) typically do not propagate under the baseplate, and do not affect the vertical load-carrying capacity of the grout.

Retain one of two subparagraphs below.

1. Treat hairline cracks with a low-viscosity epoxy crack healer/sealer.

2. Rout out and fill cracks by hand with a compatible grout.

3.4 FIELD QUALITY CONTROL

A. Testing Agency: [Owner will engage] [Engage] a qualified testing agency to perform tests and inspections.

B. Inspections: Place grout only after inspectors have verified compliance of grout substrates and environmental conditions.

C. Grout Tests: Testing of samples of fresh grout shall be performed in accordance with the following requirements:

1. Compressive Strength: ASTM C109/C109M; at least one sample for each 10 placements of each grout type placed each day.

2. Flow Rate: ASTM C939/C939M; one test at point of placement for each sample, but not less than one test of each applicable grout type placed each day.

D. Grout will be considered defective if it does not pass tests and inspections.

E. Prepare test and inspection reports.

3.5 CLEANING
A. Remove excess grout from adjacent surfaces.

B. Clean tools and mixer with water.

END OF SECTION 036000
	CEMENTITIOUS GROUTING

	036100 - 1
 



